# Technical data sheet. Quillén Concrete Formwork Panel 18 mm

Species radiata pine. Phenolic film overlay 120 g/m2 both faces.

Panel size 1220 x 2440 mm. Thickness 18 mm, tolerance plus or minus 0.5 mm.

Bonding exterior phenolic glue. Typical reuse 8 to 12 pours with proper handling.

Edges sealed with acrylic paint. Store flat, protected from sun and rain.